ALBUQUERQUE PUBLIC SCHOOLS

Facilities Design & Construction   /   Maintenance & Operations

Aluminum Framed Entrance and Storefront

__________________________________

David Ritchey

Willard Eastman

Martin Saiz

Benjamin Garcia

Noel Garza

Charlie Salas

Pete Trujillo

Tony Baca

Dave Edwards

Rick Middleton

John Weimer

__________________________________

Adopted September 14, 2010

Updated January 20, 2014

SECTION 08 41 13 – ALUMINUM-FRAMED ENTRANCE AND STOREFRONT

PART 1 – GENERAL

  - SUMMARY

- Related Documents: Conditions of the Contract, Division 1 – General Requirements, and Drawings apply to Work of this Section.

- Section Includes:

- Storefront framing, complete with reinforcing, fasteners, anchors, and attachment devices.

- Storefront doors, complete with reinforcing for hardware requirements.

- Accessories necessary to complete the work.

- Related Sections:

- Section 01 40 00 – Quality Requirements

- Section 05 50 00 – Metal Fabrications.

- Section 07 92 00 – Joint Sealants

- Section 08 51 13 – Aluminum Windows

- Section 08 71 00 – Door Hardware

- Section 08 81 00 – Glass Glazing

  - REFERENCES

- Aluminum Association (AA):

      - DAF-45 	Designation System for Aluminum Finishes.

- American Architectural Manufactures Association (AAMA):

      - 501	Methods of Test for Exterior Walls.

      - 501.2 	Quality Assurance and Diagnostic Water Leakage Field Check of installed Storefront,                                                                                                          Curtain Walls, and Sloped Glazing Systems.

      - 611  	Voluntary Specification for Anodized Architectural Aluminum

      - 701 	Voluntary Specifications for Pile Weather-stripping and Replaceable Fenestration Weather seals.

      - 1503 	Voluntary Test Method for Thermal Transmittance and Condensation Resistance of Windows, Doors and Glazed Wall Sections.

      - CW-10  	Care and handling of Architectural Aluminum from Shop to Site.

      - SFM-1  	Aluminum Storefront and Entrance Manual.

- American Society for Testing and Materials (ASTM)

      - B209 	Aluminum and Aluminum – Alloy Sheet and Plate

      - B221 	Aluminum-Alloy Extruded Bars, Rods, Wire, Shapes, and Tubes

      - E283 	Test Method for Rate of Air Leakage through Exterior Windows, Curtain Walls and Doors.

      - E330  	Test Method for Structural Performance of Exterior Windows, Curtain Walls and Doors by Uniform Static Air Pressure Difference.

      - E331  	Test Method for Water Penetration of Exterior Windows, Curtain Walls and Doors by Uniform Static Air Pressure Difference.

- Glass Association of North America (GANA):

- Glazing Manual.

  - SYSTEM REQUIRMENTS

- Design Requirements

- Provide aluminum entrance and storefront systems capable of withstanding loads and thermal and structural movement requirements indicated without failure, based on testing manufacturer’s standard units in assemblies similar to those indicated for this project.  Failure includes the following:

- Air infiltration and water penetration exceeding specified limits.

- Framing members transferring stresses, including those caused by thermal and structural movement, to glazing units.

- Drawings are diagrammatic and do not purport to identity nor solve problems of thermal of structural movement, glazing, anchorage, or moisture disposal.

- Requirements shown by details are intended to establish basic dimension of units, sight lines and profiles of members.

- Provide concealed fastening whenever possible.

- Provide entrance and storefront systems, including necessary modifications, to meet specified requirements and maintaining visual design concepts.

- Attachment considerations are to take into account site peculiarities and expansion and contraction movements so there is no possibility of loosening, weakening, or fracturing connection between units and building structure or between units themselves.

- Anchors, fasteners and braces shall be structurally stressed not more than 50% of allowable stress when maximum loads are applied.

- Provide for expansion and contraction due to structural movement without detriment to appearance or performance.

- Framing systems shall accommodate expansion and contraction movement due to surface temperature differentials of 180 degrees F without causing buckling, stress on glass, failure of

joint seals, excessive stress on structural elements, reduction of performance, or other detrimental effects.

- Performance Requirements:

- Wind loads: provide framing systems, including anchorage, capable of withstanding wind-load design pressures calculated according to requirements of authorities having jurisdiction or the American Society of Civil Engineers’ ASCE 7, “Minimum Design Loads for Buildings and Other Structures,” 6.4.2, “Analytical Procedure,” whichever are more stringent.

- Air infiltration: Air leakage through fixed light areas of storefront shall not exceed 0.06 cfm per square foot of surface area when tested in accordance with ASTM E283 at differential static pressure of 6.24 psf.

- Water infiltration: No uncontrolled leakage when tested in accordance with ASTM E331 at test pressure of 8 psf as defined in AAMA 501.

- Static-Pressure Test Performance:  Provide entrance and storefront systems that do not evidence material failures, structural distress, failure of operating components to function normally, or permanent deformation of main framing members exceeding 0.2 percent of clear span when tested according to ASTM E330.

- Seismic Loads:  Provide entrance and storefront systems, including anchorage, capable of withstanding the effects of earthquake motions calculated according to requirements of authorities having jurisdiction or ASCE 7, “Minimum Design Loads for Building and Other Structures,” and “Earthquake Loads,” whichever are more stringent.

- Dead Loads:  Provide entrance and storefront system members that do not deflect an amount which will reduce glazing bite below 75 percent of design dimension when carrying full dead load.

    - Provide a minimum 1/8 inch clearance between members and top of glazing or other fixed part immediately below.

    - Provide a minimum 1/16 inch clearance between members and doors.

- Deflection: Maximum calculated deflection of any framing member in direction normal to plane of wall when subjected to specified design pressures for spans up to and including 13'-6" shall be limited to [1/175] of its clear span and for spans greater than 13'-6" deflection shall be limited to [1/240] of its clear span + 1/4", except that maximum deflection of members supporting plaster surfaces shall not exceed 1/360 of its span.

- Average Thermal Conductance:  Provide storefront systems with average U-values of not more than 0.63 Btu/sq. ft. x h x deg F when tested according to AAMA 1503.1.

- Condensation Resistance (CRF): When tested to AAMA Specification 1503, the condensation resistance factor shall not be less than 45.

- Testing Requirements: provide components that have been previously tested by an independent testing laboratory.

  - SUBMITTALS

    - General: Submit in accordance with Section 01 30 00 – Submittal Procedures.

    - Product Data:

- Submit manufacturer’s descriptive literature and product specifications.

- Include information for factory finishes, hardware, accessories, and other required components.

- Include color charts for finish indicating manufacturer’s standard colors available for selection.

    - LEED Submittals:

- Product Data for Credit MR 4.1:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.  Include statement indicating costs for each product having recycled content.

- Product Data for Credit EQ 4.1:  For adhesives and sealants used inside the weatherproofing system, including printed statement of VOC content.

    - Shop Drawings:

- Submit shop drawings covering fabrication, installation and finish of specified systems.

- Include following:

        - Fully dimensioned elevation drawing with details coordination keys.

        - Locations of exposed fasteners and joints.

3.    Provide detailed drawings of:

a.     Composite members.

b.     Joint connections for framing systems and for entrance doors.

c.     Anchorage.

d.	System reinforcements

e.	System expansion and contraction provisions.

f.	Glazing methods and accessories.

g.	Internal sealant requirements.

h.	Thermal improvements.

4.	Schedule of finishes

D.	Samples:

- Submit manufacturer’s standard samples indicating quality of finish.

- Where normal texture or color variations are expected, include additional samples illustrating

range of variation.

E.	Test Reports:

1.	Standard systems: Submit certified copies of previous test reports substantiating performance of system in lieu of retesting.  Include other supportive data as necessary.

F.	Qualification Data:

1.	Submit certification from storefront manufacturer verifying installer’s qualifications, and verifying that installer has the required five years minimum experience installing aluminum-framed entrance and storefront systems.

G.	Manufacturer’s instructions: Submit manufacturer’s printed installation instructions.

H.    Sealant Compatibility and Adhesion Test Reports:  From sealant manufacturer, indicating that the materials forming joint substrates and joint-sealant backings have been tested for compatibility and adhesion with sealants; include joint sealant manufacturer’s written interpretation of test results relative to sealant performance and recommendations for primers and substrate preparation needed to obtain adhesion

  - QUALITY ASSURANCE

A.     Single Source Responsibility:

- To ensure quality of appearance and performance, obtain materials for systems from either a single manufacturer or from manufacturer approved by systems manufacturer.

- Installer Qualifications: Certified in writing by system manufacturer as qualified for installation of specified systems.

- Engineering Responsibility:  Installer shall assume engineering responsibility and shall prepare data for entrance and storefront systems, including shop drawings, based on testing and engineering analysis of manufacturer’s standard units in assemblies similar to those indicated for this project.

- Perform work in accordance with AAMA SFM-1 and manufacturer’s written instructions.

- Manufacturer’s representatives shall inspect final installation and provide a written report of acceptance to be included with storefront installer’s closeout documents.

  - DELIVERY, STORAGE, AND HANDLING

- Comply with requirements of Sections 01 60 00 – Product Requirements

- Protect finished surfaces as necessary to prevent damage.

- Do not use adhesive papers or sprayed coatings that become firmly bonded when exposed to sun.

- Do not leave coating residue on any surfaces.

- Replace damaged units.

1.07        Warranty

- General Warranty:  The special warranty specified in this Article shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and shall be in addition to, and run concurrent with, other warranties made by the Contractor under requirements of the Contract.

- Provide written warranties in form acceptable to Owner signed by manufacturer, installer and General Contractor, as follows:

- Manufacturer’s Warranty shall cover the following:

      - Structural failures including, but not limited to, excessive deflection.

      - Deterioration of metals, metal finishes, and other materials beyond normal weathering.

      - Defective materials, defective manufacture, or glass breakage due to defective design.

      - Failure of operating components to function normally.

      - Agreement to replace components which fail within 2 years from date of Substantial Completion.

- Installer’s Warranty shall cover the following:

      - All items listed above under Manufacturer’s Warranty.

      - Water leakage through fixed glazing and frame areas.

      - Defective installation workmanship, or glass breakage due to defective installation.

- General Contractor’s Warranty shall cover the following:

      - Items a) through d) listed above under Manufacturer’ Warranty.

      - Items f) through h) listed above under Installer’s Warranty.

      - Agreement to provide materials and labor for replacement of defective components that fail within 2 years from date of Substantial Completion.

- Warranty response time:  The aluminum storefront installer shall respond to requests for warranty repairs within 24 hours of receiving notice that such repairs are required.

PART 2 – PRODUCTS

2.01      MANUFACTURERS AND PRODUCTS

- Subject to compliance with requirements indicated, provide products by one of the following:

- Oldcastle Building Envelope.

- Kawneer Company.

- Tubelite, Inc.

- No Substitutions.

- Acceptable storefront framing system for exterior use: (2”x 4 ½” center glazed storefront):

- Oldcastle Series 3000 Thermal Multiplane.

- Kawneer VG451T.

- Tubelite T14000

- Storefront framing system must be conventionally center glazed.  Offset, or structural, glazing systems are not acceptable.

- Acceptable storefront framing system for interior use: (1-3/4”x 4-1/2” center glazed storefront) (Interior storefront doors and framing systems shall have the same gage aluminum and same structural construction as the exterior systems.):

- Oldcastle Series 2000 framing.

- Kawneer Trifab 450.

- Tubelite E4500 series.

- Acceptable entrance door systems:

- Door construction:  2 inch overall thickness with minimum .188 inch thick extruded aluminum tubular rail and stile members.  Mechanically fasten corners with reinforcing brackets that are deeply penetrated and fillet welded or that incorporate concealed tie rods.

- Door design:  Shall be Wide Stile with smooth surface, minimum 10” high, bottom rails and at least one intermediate mid-panel.  Door top rail to be a minimum of 7” high for closer mounting.  Mid-panel height to be coordinated with hardware requirements, specifically to be centered on exit devices, regardless of the dimensions shown on the drawings.  Doors with full glass lites are not acceptable.  Door height to be no taller than 7’-0”.

- Door labeling:  Doors shall have permanent labels on the hinge edge surface identifying the door manufacturer.

- Glazing stops and gaskets:  Shall be snap-on, extruded aluminum stops and preformed gaskets.  Provide non-removable glass stop to exterior of door.

- Door stops:  Shall be integral to the door frame extrusion.  Door stop must be a minimum of ½” high x 1” deep.  Fin type, snap in, or screw applied door stops are not acceptable.  Door stops must provide uninterrupted weathering the entire length of the stop.

- Reinforcing and Anchoring:  Doors and door frames are to be properly reinforced with 1/4” min. thickness internal steel back up material sufficient for attaching hardware as specified.  In addition to steel reinforcing, door frame extrusion is to be non-thermally broken with 3/16” minimum wall thickness for hardware mounting with integral door stops as part of the extrusion.  Types of hardware include, but are not limited to:  surface mounted door closers, handicap operators, hold open arms, lock or latch strikes, removable mullions, hinges or pivots, and any other hardware as called out in the finish hardware section of the specifications.   Hardware must be anchored to the main sections of the storefront door or door frame and no hardware will be anchored into any snap on extrusion.

- Hardware reinforcement for hinging to run continuous the full length of the door jamb.  Hardware reinforcement for lock strikes and closers to be a minimum of 16” in length and located within the door and frame to accommodate the specified hardware.

- Door frames:  Only aluminum, wood, or fiberglass doors are to be installed in aluminum door frames.  Do not install hollow metal doors in aluminum door frames.

- Door frame, and reinforcement requirements, described above, apply to both interior and exterior aluminum door frames.  Door frames must be able to accommodate doors that are 1-3/4” or 2” thick as called for on the drawings, or in the specifications.

2.02      FRAMING MATERIALS AND ACCESSORIES

- Aluminum:

- ASTM B221, alloy 6063-T5 for extrusions; ASTM B209, alloy 5005-H16 for sheets; or other alloys and temper recommend by manufacturer appropriate for specified finish.

- Internal Reinforcing:

- ASTM A36 for carbon steel.

- Shapes and sizes to suit installation.

- Steel components factory coated with alkyd type zinc chromate primer complying with FS TT-P-645.

- Anchorage Devices:

- Manufacturer’s standard formed or fabricated steel or aluminum assemblies of shapes, plates, bars or tubes.

- Hot-dip galvanized steel assemblies after fabrication; comply with ASTM A123, 2.0 ounce minimum coating.

- Fasteners:

- Aluminum, non-magnetic stainless steel or other non-corrosive materials compatible with items being fastened.

- Provide concealed fasteners wherever possible.

- For exposed locations, provide Phillips flathead screws with finish matching item fastened.

- For concealed locations, provide manufacturer’s standard fasteners.

- Expansion Anchor Devices: lead-shield or toothed-steel, drilled-in, expansion bolt anchors.

- Protective Coatings: Cold-applied asphalt mastic complying with SSPC, compounded for 30 mil thickness for each coat; or alkyd type zinc chromate primer complying with FS TT-P-645

- Touch-Up primer for galvanized components: zinc oxide conforming with FS TT-P-641

- Glazing Gaskets:

- Compression type design, replaceable, molded or extruded, of neoprene, polyvinyl chloride (PVC), or ethylene propylene diene monomer (EPDM).

- Profile and hardness as required to maintain uniform pressure for watertight seal.

- Weatherproofing:

- Wool pile conforming to AAMA 701.2.

- Internal Sealants and Baffles.

- Adhesives and Sealants:  Provide adhesives and sealants inside the weatherproofing system containing VOC content of 250g/L, or less when calculated according to 40CFR 59, Subpart D (EPA Method 24).

2.03        GLASS AND GLAZING

- Refer to Section 08 81 00 – Glass Glazing.

2.04         FABRICATION

- Coordination of Fabrication

- Check actual frame or door openings required in construction work by accurate field measurements before fabrications.

- Fabricate units to withstand loads that will be applied when system is in place.

- General

- Conceal fasteners wherever possible.

- Reinforce work as necessary for performance requirements, and for support to structure.

- Separate dissimilar metals and aluminum in contact with concrete utilizing protective coating or preformed separators, which will prevent contact and corrosion.

- Comply with Section 08 81 00 – Glass Glazing, for glazing requirements.

- Aluminum Framing

- Provide members of size, shape and profile indicated, designed to provide for glazing from the exterior at the first level or ground floor level.  Glaze system from the interior at any locations above the first level.

- Provide manufacturer’s standard thermal break between exterior and interior aluminum surfaces.

- Fabricate frame assemblies with joints straight and tight fitting.  Doors and door frames are to be shop fabricated.  Field fabrication of frames will not be allowed.

- Reinforce internally with structural members as necessary to support design loads.

- Maintain accurate relation of planes and angles, with hairline fit of contacting members.

- Seal horizontals and direct moisture accumulation to exterior.

- Provide flashings and other materials used internally or externally that are corrosive resistant, not-straining, non-bleeding and compatible with adjoining materials.

- Provide manufacturer’s extrusions and accessories to accommodate expansion and contraction due to temperature changes without detrimental to appearance or performance.

- Provide storefront manufacturer’s standard high performance extruded sill flashing at all storefront framing.

- Fabricate door frames to accept specified hardware without compromising the weather seal around doors.

- Welding

- Comply with recommendations of the American Welding Society.

- Use recommended electrodes and method to avoid distortion and discoloration.

- Grind exposed welds smooth and flush with adjacent surfaces; restore mechanical finish.

- Flashings:  Form from sheet aluminum with same finish as extruded sections, unless otherwise noted.  Apply finish after fabrication.  Material thickness as required to suit condition without deflection or “oil-canning”.

  - FINISHES

- Clear Anodized:

- Conforming to AA-M12C22A31 and AAMA 611.

- Architectural Class II, etched, medium matte, clear anodic coating, 0.4 mil minimum thickness

*OR*

B.	Color Anodized

- Conforming to AAMA 601, and either AA-M12C22A44 or AAM10C21A44.

- Architectural Class [1], etched, medium matte, [black] [dark bronze] [medium bronze] [light bronze] colored anodic coating, [0.7] mil minimum thickness.

PART 3 – EXECUTION

  - EXAMINATION

- Examine conditions and proceed with Work in accordance with Section 01 40 00 – Quality Requirements.

  - INSTALLATION

- General:  Comply with manufacturer’s written instructions for protecting, handling, and installing entrance and storefront systems.  Do not install damaged components.  Fit frame joints to produce hairline joints free of burrs and distortion.  Rigidly secure non-movement joints.  Seal joints watertight.

- Erection Tolerances:

- Limit variations from plumb and level:

  - 1/8 inch in 10’-0” vertically.

  - 1/8 inch in 20’-0” horizontally.

- Limit variations from theoretical locations; 1/4 inch for any member at any location.

- Limit offsets in theoretical end-to-end and edge-to-edge alignment: 1/16 inch from flush surfaces not more than 2 inches apart or out-of-flush by more than 1/4 inch.

- Install doors and hardware in accordance with manufacturer’s printed instructions.

- Set units plum, level and true to line, without warp or rack of frame.

- Anchor securely in place, allowing for required movement, including expansion and contraction.

- Separate dissimilar materials at contact points, including metal in contact with masonry or concrete surfaces, with bituminous paint or preformed separators to prevent contact with masonry of concrete.

- Set sill members in bed of sealant.  Set other members with internal sealants and baffles to provide weather-tight construction.

- Coordinate installation of perimeter sealant and backing materials between assemblies and adjacent construction in accordance with requirements of Section 07 92 00 – Joint Sealants.

- Glazing: refer to requirements of Section 08 81 00 – Glass Glazing.

  - ADJUSTING

- Test door operating function.  Adjust closing and latching speeds and other hardware in accordance with manufacturer’s instructions to ensure smooth operation.

  - CLEANING

- Clean surfaces in compliance with manufacturer’s recommendations; remove excess mastic, mastic smears, foreign materials and other unsightly marks.

- Clean metal surfaces exercising care to avoid damage.

  - PROTECTION

- Provide final protection and maintain conditions, acceptable to manufacturer and installer, that ensure entrance and storefront systems are without damage or deterioration at Substantial Completion.

END OF SECTION